## Disclaimer
Disclaimer, Authorisation and Acknowledgment
NZv1.0
The Green Star rating system (‘Green Star Rating System’) and the Green Star Rating Tools (‘Rating Tools’) have been developed by the New Zealand Green Building Council (‘NZGBC’). The Rating Tools are intended for use by project teams, contractors and other interested parties to validate sustainability initiatives of the design and construction phases of eligible projects.
The Green Star Rating System and the Rating Tools have been developed with the assistance and participation of representatives from many organisations. The Rating Tools may be subject to further development in the future. The views and opinions expressed in the Submission Guidelines have been determined by the NZGBC.
The NZGBC authorises you to view and use this Submission Guidelines for your individual use only. In exchange for this authorisation, you agree that the NZGBC retains all copyright and other proprietary rights contained in, and in relation to, the Submission Guidelines and agree not to sell, modify, or use for another purpose the Submission Guidelines or to reproduce, display or distribute the Submission Guidelines in any way for any public or commercial purpose, including display on a website or in a networked environment.
Unauthorised use of the Submission Guidelines will violate copyright, and other laws, and is prohibited. All text, graphics, layout and other elements of content contained in the Submission Guidelines is owned by the NZGBC and are protected by copyright, trade mark and other laws.
To the maximum extent permitted by law, the NZGBC does not accept responsibility, including without limitation for negligence, for any inaccuracy within the Submission Guidelines and makes no warranty, expressed or implied, including the warranties of merchantability and fitness for a particular purpose, nor assumes any legal liability or responsibility to you or any third parties for the accuracy, completeness, or use of, or reliance on, any information contained in the Submission Guidelines or for any injuries, losses or damages (including, without limitation, equitable relief and economic loss) arising out of such use or reliance. The Submission Guidelines is no substitute for professional advice. You should seek your own professional and other appropriate, advice on the matters addressed by it.
As a condition of use of the Submission Guidelines, you covenant not to sue, and agree to release the NZGBC, its officers, agents, employees, contractors (including any Certified Assessor, any member of the Technical Working Group and any Independent Chair) and its members from and against any and all claims, demands and causes of action for any injury, loss, destruction or damage (including, without limitation, equitable relief and economic loss) that you may now or hereafter have a right to assert against such parties as a result of your use of, or reliance on, the Submission Guidelines.
The application of the Submission Guidelines to all Eligible Projects is encouraged to assess and improve their environmental attributes.
The NZGBC offers a formal certification process whereby persons may apply for a particular design or project to be assessed for compliance with the criteria specified in the Submission Guidelines upon payment of the relevant fee and execution of the required documentation by the applicant.
For NZGBC non-member organisations: This soft-copy gives your organisation license to use the Submission Guidelines by up to 5 users. Organisations that require a license for more than 5 users should contact the NZGBC.
All rights reserved.
15 Modelled Performance Pathway

## Change Log
Change Log
| Calculator Release | Summary of Changes
Green Star - Design & As Built NZv1.0 | 2019-04-11 | Initial release.
Summary of Changes - Internal Use only
Release Number | Date | Author | Reviewer | Approver | Sheet | Range | New Value | Old Value | Comments
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15A Prescriptive Path | B13:D14 | Dropdown menu for Star Ratings | <blank> | Dropdown included for Conditional Requirements. Message for projects targetting 6 Star Rating also included
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15A Prescriptive Path | J49 | =IF(SUM(D41:D46)>5,5,SUM(D41:D46)) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15A Prescriptive Path | K45 | =IF(AND($D$13=J45, $J$49>0), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15A Prescriptive Path | K46 | =IF(AND($D$13=J46, $J$49>3), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15A Prescriptive Path | K47 | =IF(AND($D$13=J47, $J$49>6), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15A Prescriptive Path | K49 | =VLOOKUP(D13,J45:K47, 2,FALSE) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15A Prescriptive Path | B51 | 15.0 Conditional Requirement for Minimum points threshold | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15A Prescriptive Path | D51 | =IF($K$49=1, "Conditional Requirement Met", "Conditional Requirement not met") | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | '35:35 |  | For mechanically air conditioned and mixed mode spaces, a pressurised building air leakage test in accordance with ASTM E779-10 or ATTMA TSL2 | Removed inputs for Building sealing compliance requirements in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | B46:F61, B45:F60 |  |  | Totals sections moved due to removal of 'Building Sealing component
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | J38:J39, J37:J38 |  |  | Totals section moved due to removal of 'Building Sealing component
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | D47 | 10 | 5 | Number of points available for this pathway updated in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | J36 | GreeenPower Calculations | <blank> | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | J38 | 5 | <blank> | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | J37 | 2 | <blank> | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | B37 | Length of GreenPower contract period (in years) | <blank> | Inclusion of timing requirement for GreenPower
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | K37 | '=IF(AND($J$48>=3, $D$36>=0.5, $D$37>=10), J37, 0) | <blank> | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | K38 | '=IF(AND($J$48>=5, $D$36=1, $D$37>=10), J38, 0) | <blank> | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | D45 | '=MAX(K37:K38) | <blank> | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15A Prescriptive Path | D46 | '=IF(COUNTIF(D11:D12,"Select Option"),"Complete Conditional Requirements",IF(COUNTIF(D11:D12,"No"),"Conditional Requirement not met",IF(SUM(D40:D45)>=10,10,SUM(D40:D45)))) |  | Updated calculation of total points in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | K74 | '=IF(SUM(D68:D73)>=12,12,SUM(D68:D73)) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | L71 | '=IF(AND($D$11=K71, $K$74>0), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | L72 | '=IF(AND($D$11=K72, $K$74>=3), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | L73 | '=IF(AND($D$11=K73, $K$74>=6), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | L74 | '=VLOOKUP(D11,K71:L73, 2,FALSE) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | B78 | 15.0 Conditional Requirement for Minimum points threshold | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | D78 | '=IF($L$74=1, "Conditional Requirement Met", "Conditional Requirement not met") | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | N55 | =IF(OR(D55="", D55=Reference!Z12), 0, 0.5) | <blank> | Updated calculation for DHW systems to award points inline with the Submission Guidelines
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | N56 | =IF(F56>1.5, 1.5,F56) | <blank> | Updated calculation for DHW systems to award points inline with the Submission Guidelines
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15B NatHERS Path | D71 | '=SUM(N55:N56) | '=L54*D76*SUM(F55:F56)/K54 | Updated calculation for DHW systems to award points inline with the Submission Guidelines
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | '57:57 |  | For mechanically air conditioned and mixed mode spaces, a pressurised building air leakage test in accordance with ASTM E779-10 or ATTMA TSL2 | Removed inputs for Building sealing compliance requirements in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | B72:F89, B71:F88 |  |  | Totals sections moved due to removal of 'Building Sealing component
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | D74 | 16 | 12 | Number of points available for this pathway updated in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | B64 | Length of GreenPower contract period (in years) |  | Inclusion of timing requirement for GreenPower
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | N63 | 2 |  | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | N64 | 5 |  | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | N62 | GreenPower |  | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | O63 | =IF(AND($K$73>=6, $D$63>=0.5, $D$64>=10), $N$63, 0) |  | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | O64 | =IF(AND($K$73>=10, $D$63=1, $D$64>=10), $N$64, 0) |  | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | D72 | '=MAX(O63:O64) |  | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15B NatHERS Path | D73 | '=IF(SUM(D67:D72)>=16,16,IF(OR(D33="FAIL",D34="FAIL"),0,SUM(D67:D72))) |  | Updated calculation of total points in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15C BASIX Path | Z21 | '=IF(AND($D$11=Y21, $W$21>0), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15C BASIX Path | Z22 | '=IF(AND($D$11=Y22, $W$21>=3), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15C BASIX Path | Z23 | '=IF(AND($D$11=Y23, $W$21>=6), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15C BASIX Path | B32 | 15.0 Conditional Requirement for Minimum points threshold | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15C BASIX Path | Z24 | '=VLOOKUP(D11,Y21:Z23, 2,FALSE) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15C BASIX Path | D32 | '=IF($Z$24=1, "Conditional Requirement Met", "Conditional Requirement not met") | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15C BASIX Path | Y20 | Conditional Requirement Logic | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15C BASIX Path | B26 | Length of GreenPower contract period (in years) |  | Inclusion of timing requirement for GreenPower
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15C BASIX Path | AC20 | GreenPower calculation |  | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15C BASIX Path | AC21 | 2 |  | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15C BASIX Path | AC22 | 5 |  | Inclusion of Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15C BASIX Path | AD21 | '=IF(AND($W$21>=6, $D$25>=0.5, $D$26>=10), AC21, 0) |  | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15C BASIX Path | AD22 | =IF(AND($W$21>=10, $D$25=1, $D$26>=10), AC22, 0) |  | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15C BASIX Path | AD23 | '=MAX(AD21:AD22) |  | Updated Greenpower calculations
Version 1.2, Release 1 | 2017-06-29 | SN |  |  | 15C BASIX Path | W29 | '=IF(AD23+W21>16,16,W21+AD23) |  | Updated calculation of total points in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15D NABERS Energy Path | J34 | '=IF(AND($C$11=I34, $G$34>0), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15D NABERS Energy Path | J35 | '=IF(AND($C$11=I35, $G$34>=3), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15D NABERS Energy Path | J36 | '=IF(AND($C$11=I36, $G$34>=6), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15D NABERS Energy Path | J37 | '=VLOOKUP(C11,I34:J36, 2,FALSE) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15D NABERS Energy Path | B44 | 15.0 Conditional Requirement for Minimum points threshold | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15D NABERS Energy Path | D44 | '=IF(J37=1, "Conditional Requirement Met", "Conditional Requirement not met") | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15D NABERS Energy Path | G38 | =IF(G34>=10, G34*D37*D38/10, MIN(G34, G34*D37*D38/10)) | =G34*D37*D38/10 | Updated the calculation of Greenpower points to limit it to the number of points available for the Commitment Agreement
|  | SN |  |  |  | D42 | 16 | 20 | Amended number of available points in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | O112 | Points for innovation calculation | <blank> | Title for Innovation Points calculation
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | O106 | Points for Greenhouse Gas Emissions Reduction calculation | <blank> | Title for GHG emissions reduction Points calculation
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | O96 | Points for Energy Reduction calculation | <blank> | Title for energy points reduction Points calculation
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | B109 | Percentage GreenPower® as stipulated within the building's power supply contract | <blank> | Inclusion of Greenpower section
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | B110 | Length of GreenPower contract period (in years) | <blank> | Inclusion of Greenpower section
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | O108 | Calcuation of points for Greenpower | <blank> | Title for Greenpower points calculation
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | O109 | =IF(AND(D109=0, D110=0), 0, min(C107,C107*D109*D110/10)) | <blank> | Calculation of points for Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | C117 | '=IF(C104="FAIL",0,MIN(SUM(C97,C107,O109),C118)) | '=IF(C104="FAIL",0,MIN(SUM(C97,C107),C118)) | Updated calculation of total points to include Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | U111 | Conditional Requirement Logic | <blank> | Conditional Requirement table heading
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | U112 | 4 Star | <blank> | For dropdown of Star Ratings
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | U113 | 5 Star | <blank> | For dropdown of Star Ratings
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | U114 | 6 Star | <blank> | For dropdown of Star Ratings
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | V115 | '=VLOOKUP(C11,U112:V116, 2,FALSE) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | V112 | '=IF(AND($C$11=U112, ($C$97+$C$107)>0), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | V113 | '=IF(AND($C$11=U113, ($C$97+$C$107)>=3), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | V114 | '=IF(AND($C$11=U116, ($C$97+$C$107)>=6), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | B115 | 15.0 Conditional Requirement for Minimum points threshold | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | D115 | '=IF(V117=1, "Conditional Requirement Met", "Conditional Requirement not met") | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | UD | SN | KD | 15E Modellled Path | Q107 | 10% | 20% | Amended the benchmark from 20% to 10% in line with the Submission Guidelines
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | C94 | '=IF(C93<0,0,IFERROR(MIN(C93/P94*O94,O94),"")) | '=IF(C93<0,0,IFERROR(MIN(C93/Q94*O94,O94),"")) | Amended the points distribution for Energy Consumption Reduction points to align with the Submission Guidelines. The previous forumla was awarding the full 4 points for a 25% reduction.
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | B111 | Innovation Points Achieved | <blank> | Clearer separation of Innovation points
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | C111 | '=$C$107 | <blank> | Clearer separation of Innovation points
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | 15E Modelled Path | C109 | '=IF(C101="FAIL",0,MIN(SUM(C94,C104),C110)) | '=IF(C101="FAIL",0,MIN(SUM(C94,C104,C107),C110)) | Removed Innovation points for the Renewable Energy Contribution from overall points available.
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | S14 | =15A Prescriptive Path'!J49 | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | S15 | =15B NatHERS Path'!K74 | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | S16 | =15C BASIX Path'!W21 | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | S17 | '15D NABERS Energy Path'!G34 | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | S18 | '=SUM('15E Modelled Path'!C97,'15E Modelled Path'!C107) | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | T14 | =IFERROR((C14/$C$19*D14)*(S14/D14),"ERROR") | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | T15 | =IFERROR((C15/$C$19*D15)*(S15/D15),"ERROR") | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | T16 | =IFERROR((C16/$C$19*D16)*(S16/D16),"ERROR") | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | T17 | =IFERROR((C17/$C$19*D17)*(S17/D17),"ERROR") | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | T18 | =IFERROR((C18/$C$19*D18)*(S18/D18),"ERROR") | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | T19 | =SUM(T14:T18) | <blank> | Calculation of points for without Greenpower
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | V14 | =IF(AND($G$21=H96, $T$19>0), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | V15 | =IF(AND($G$21=H97, $T$19>0), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | V16 | =IF(AND($G$21=H98, $T$19>0), 1,0) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | V17 | =VLOOKUP(G21,U14:V16, 2,FALSE) | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | G22 | '=IF(V17=1, "Conditional Requirement Met", "Conditional Requirement not met") | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | B21 | Targeted Green Star Rating - Please enter the targeted Green Star Rating of the project. | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
Version 1.2, Release 1 | 2017-06-23 | SN |  |  | Multiple Path Calcs | B22 | 15.0 Conditional Requirement for Minimum points threshold | <blank> | Inclusion of Conditional Requirements notification in line with D&AB v1.2
15 Modelled Performance Pathway

## 15 Modelled Pathway
[11 empty] | x | x | x | x | x | x
User Input Cells
This calculator addresses criterion '15 GHG Emissions Reduction - Modelled Performance Pathway' and '16B Modelled Performance Pathway: Reference Building.'
15 Modelled Performance Pathway
Conditional Requirement
Targeted Green Star Rating
Project input
GHG Emission Intensity Factors |  | Units
Grid Electricity | 0.129 | kgCO2e/kWh | [8 empty] | Location dependent
Natural Gas | 0.0641 | kgCO2e/MJ | [8 empty] | Location dependent
LPG | 0.0649 | kgCO2e/MJ | [8 empty] | Location independent
Diesel | 0.0748 | kgCO2e/MJ
Coal | 0.09303 | kgCO2e/MJ
Biomass | 0.0018 | kgCO2e/MJ
Liquid Biofuels | 0.00026 | kgCO2e/MJ
District CHW | 0.0059722 | kgCO2e/MJ | [8 empty] | Location independent
District HHW | 0.084952 | kgCO2e/MJ | [8 empty] | Location independent
District DHW | 0.084952 | kgCO2e/MJ | [8 empty] | Location independent
District Electricity (inc GreenPower) | 0.129 | kgCO2e/kWh
District Energy Systems |  | Units | Contract |  | Building | [5 empty] | Location independent
Contract emission rate: CHW |  | kgCO2e/MJ | TPPA term |  | Building capacity
Contract emission rate: HHW |  | kgCO2e/MJ | TPPA term |  | Building capacity
Contract emission rate: DHW |  | kgCO2e/MJ | TPPA term |  | Building capacity | [5 empty] | Baseline GHG emission rate | 0.0059722
Contract emission rate: District Electricity |  | kgCO2e/kWh | PPA term | [7 empty] | Baseline GHG emission rate | 0.084952
[11 empty] | Baseline GHG emission rate | 0.084952
| REFERENCE BUILDING |  |  | INTERMEDIATE BUILDING |  | PROPOSED BUILDING |  |  | Improvement | Comments | Baseline GHG emission rate | 0.129
| Source | Annual Energy Consumption | GHG Emissions | Annual Energy Consumption | GHG Emissions | Source | Annual Energy Consumption | GHG Emissions
HVAC
Heating
Heating
Cooling
Cooling
Heat Rejection
Air Conditioning Fans
Mechanical Ventilation Fans
Pumps
Services
Domestic Hot Water |  |  |  | 0
DHW Circulators and Controls |  |  |  | 0
DCW Pumps and Controls |  |  |  | 0
Lifts |  |  |  | 0
Artificial Lighting - Internal | Grid Electricity |  | 0 | 0 | 0
Artificial Lighting - External |  |  |  | 0
Appliances (Class 2 only) |  |  |  | 0
Swimming Pools |  |  |  | 0
<Other 1 - user to specify> |  |  |  | 0
<Other 2 - user to specify> |  |  |  | 0
<Other 3 - user to specify> |  |  |  | 0
<Other 4 - user to specify> |  |  |  | 0
<Other 5 - user to specify> |  |  |  | 0
TOTALS |  | 0 | 0 | 0 | 0 |  | 0 | 0
Renewable Energy
Photovoltaic
Wind Turbines
Co/Trigeneration
Fuel Input
Electricity Output
External Energy Services
Electricity Supply
Subtotal GHG Emissions |  | REFERENCE BUILDING |  | INTERMEDIATE BUILDING |  |  | PROPOSED BUILDING
|  | Annual Energy Consumption | GHG Emissions | Annual Energy Consumption | GHG Emissions |  | Annual Energy Consumption | GHG Emissions | GHG Emissions (excl offsite supply)
Grid Electricity |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Natural Gas |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
LPG |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Diesel |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Coal |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Biomass |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Liquid Biofuels |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
District CHW |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
District HHW |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
District DHW |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
District Electricity (inc GreenPower) |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
TOTAL | [6 empty] | 0 | 0 | 0
TOTAL RENEWABLE | [6 empty] | 0 | 0
Peak Electricity Demand Reduction | Reference Building |  |  |  |  | Proposed Building |  |  | Improvement | Day of Peak Demand
Peak Demand (kW) | Grid Electricity |  |  |  |  | Grid Electricity
RESULTS
Energy Consumption Reduction
Reference Building Energy | 0 | MJ/annum
Intermediate Building Energy | 0 | MJ/annum
Improvement | [10 empty] | Points for Energy Reduction calculation
Energy Consumption Reduction Points | [10 empty] | 4 | 20% | 25%
Greenhouse Gas Emissions Reduction
Benchmark Building GHG | 0 | kgCO2e/annum
Proposed Building GHG (excluding off-site supply) | 0 | kgCO2e/annum
Proposed Building GHG | 0 | kgCO2e/annum
Conditional Requirement | PASS
Improvement
Off-site supply max points | [10 empty] | Points for Greenhouse Gas Emissions Reduction calculation
GHG Emissions Reduction Points | [10 empty] | 16 | 80% | 100%
Calcuation of points for Greenpower
Percentage GreenPower® as stipulated within the building's power supply contract | [10 empty] | 0
Length of GreenPower contract period (in years)
Conditional Requirement Logic
Renewable GHG Reduction (excluding GreenPower) | [10 empty] | Points for innovation calculation |  |  | 4 Star | #VALUE!
Innovation - Renewable Energy | [10 empty] | 2 | 10% | 10% | 5 Star | #VALUE!
[14 empty] | 6 Star | #VALUE!
15.0 Conditional Requirement for Minimum points threshold |  | Conditional Requirement not met
Total Points Achieved | 0
Total Points Available | 20
Innovation Points Achieved
16B PEAK ELECTRICITY DEMAND REDUCTION
Results
[12 empty] | Lower | Upper
Peak electricity demand reduction | [10 empty] | 2 | 10% | 30%
[12 empty] | 10 | -1
Total Points Achieved | 0
Total Points Available | 2
Note on E29: Definition Thermal Power Purchase Agreement (TPPA)
Note on E30: Definition Thermal Power Purchase Agreement (TPPA)
Note on E31: Definition Thermal Power Purchase Agreement (TPPA)
Note on E32: Definition Power Purchase Agreement (PPA)
Note on C34: Please note that calculations for the Benchmark Building are determined based on the inputs from the Reference Building, and are not required to be inputted by project teams. Please see the Calculator Guide for additional information.
Note on L34: Project teams must provide comment on the causes of the improvements in the Proposed Building where any improvements exceed 5%.
Note on D35: Ensure that energy values entered are in units consistent with the GHG emission factors, i.e. kWh for electricity and MJ for all other fuels/energy sources.
Note on F35: Ensure that energy values entered are in units consistent with the GHG emission factors, i.e. kWh for electricity and MJ for all other fuels/energy sources.
Note on I35: Ensure that energy values entered are in units consistent with the GHG emission factors, i.e. kWh for electricity and MJ for all other fuels/energy sources.
Note on B45: Please note that the calculator inputs for the building services are the same in the Reference and Intermediate Building models. Project teams are not required to input these values for the Intermediate Building. Please see the Calculator Guide for additional information.
Note on K83: Total excluding off-site supply.
Note on O95: richardj: Points available for this component of the credit
Note on P95: richardj: Proportion of points available for this component of the credit
Note on Q95: richardj: Maximum improvement rewarded by credit
Note on B98: The Benchmark Building is a 10% improvement over the Reference Building.
Note on O105: richardj: Points available for this component of the credit
Note on P105: richardj: Proportion of points available for this component of the credit
Note on Q105: richardj: Maximum improvement rewarded by credit
Note on O111: richardj: Points available for this component of the credit
Note on P111: richardj: Proportion of points available for this component of the credit
Note on Q111: richardj: Maximum improvement rewarded by credit UD: Changed from 20% to 10% - in line with credit wording.
Note on P124: richardj: Straight line gradient
Note on Q124: richardj: Straight line intercept
15 Modelled Performance Pathway

## Synthetic GHG (hidden)
Item | Class | GHG Content | Leakage Rate | GHG Emission Rate
|  | kg | kgCO2e/kg/annum | kgCO2e/annum
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
0

## Reference (hidden)
Climate Zone | Location | Energy Rating (stars) | [23 empty] | Elec | Gas | Synthetic GHG source equipment type | Leakage rate
|  | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10 | 0.5 | 0 | Yes | ACT | 1.05 | 0.06413 | Commercial air conditioning – chillers | 0.09
1 | Darwin | 853 | 773 | 706 | 648 | 598 | 555 | 516 | 480 | 446 | 413 | 381 | 349 | 317 | 285 | 253 | 222 | 192 | 164 | 140 | 119 | 1 | 0.5 | No | NSW | 1.05 | 0.06413 | Commercial refrigeration – supermarket systems | 0.23
2 | Port Hedland | 643 | 569 | 507 | 455 | 411 | 373 | 340 | 310 | 284 | 260 | 237 | 215 | 194 | 172 | 151 | 131 | 111 | 93 | 76 | 62 | 1.5 | 1 | NA | NT | 0.77 | 0.05133 | Industrial refrigeration including food processing and cold storage | 0.16
3 | Longreach | 654 | 550 | 465 | 396 | 340 | 294 | 257 | 226 | 200 | 178 | 159 | 141 | 124 | 107 | 90 | 74 | 58 | 43 | 29 | 18 | 2 | 1.5 | Mechanical Heating/Cooling | QLD | 0.95 | 0.06003 | Gas insulated switchgear and circuit breaker applications | 0.0089
4 | Carnarvon | 209 | 181 | 157 | 137 | 120 | 105 | 93 | 82 | 73 | 66 | 59 | 53 | 47 | 41 | 36 | 31 | 27 | 22 | 18 | 14 | 2.5 | 2 | Natural Ventilation | SA | 0.73 | 0.06173
5 | Townsville | 337 | 309 | 283 | 259 | 238 | 218 | 200 | 183 | 168 | 153 | 140 | 127 | 114 | 103 | 92 | 81 | 71 | 61 | 52 | 44 | 3 | 2.5 | Mixed | TAS | 0.22 | 0.05133
6 | Alice Springs | 681 | 562 | 464 | 385 | 321 | 269 | 228 | 196 | 170 | 148 | 130 | 113 | 99 | 84 | 70 | 56 | 43 | 29 | 17 | 7 | 3.5 | 3 | Natural Gas | VIC | 1.32 | 0.05523
7 | Rockhampton | 344 | 295 | 255 | 222 | 194 | 171 | 152 | 136 | 122 | 110 | 99 | 90 | 80 | 71 | 63 | 54 | 46 | 38 | 31 | 24 | 4 | 3.5 | Electric heat pump (COP>3.5) | WA | 0.84 | 0.05533
8 | Moree | 597 | 481 | 388 | 315 | 258 | 214 | 180 | 155 | 135 | 119 | 106 | 94 | 83 | 71 | 60 | 47 | 35 | 24 | 14 | 7 | 4.5 | 4 | Waste or recovered heat
9 | Amberley | 407 | 334 | 275 | 226 | 187 | 157 | 132 | 113 | 97 | 85 | 75 | 67 | 59 | 52 | 45 | 38 | 31 | 24 | 18 | 12 | 5 | 4.5 | Other
10 | Brisbane | 245 | 203 | 167 | 139 | 116 | 97 | 83 | 71 | 62 | 55 | 48 | 43 | 38 | 34 | 30 | 25 | 21 | 17 | 13 | 10 | 5.5 | 5 | 1
11 | Coffs Harbour | 286 | 232 | 188 | 153 | 125 | 103 | 86 | 73 | 63 | 55 | 49 | 44 | 39 | 34 | 29 | 24 | 19 | 15 | 11 | 7 | 6 | 5.5 | 2
12 | Geraldton | 349 | 285 | 233 | 191 | 158 | 132 | 112 | 96 | 83 | 73 | 64 | 57 | 50 | 43 | 36 | 29 | 22 | 16 | 10 | 5 | 6.5 | 6 | 3
13 | Perth | 483 | 387 | 311 | 251 | 204 | 167 | 139 | 118 | 102 | 89 | 79 | 70 | 61 | 52 | 44 | 34 | 25 | 17 | 9 | 4 | 7 | 7 | 4
14 | Armidale | 801 | 661 | 545 | 451 | 375 | 314 | 266 | 227 | 195 | 169 | 147 | 128 | 110 | 93 | 76 | 60 | 43 | 27 | 13 | 1 | 7.5 | 8 | 5
15 | Williamtown | 429 | 349 | 284 | 232 | 191 | 159 | 133 | 114 | 98 | 86 | 76 | 67 | 58 | 50 | 42 | 34 | 26 | 19 | 12 | 6 | 8 | 9 | 6
16 | Adelaide | 584 | 480 | 394 | 325 | 270 | 227 | 192 | 165 | 143 | 125 | 109 | 96 | 83 | 70 | 58 | 46 | 33 | 22 | 11 | 3 | 8.5 | 10 | 7
17 | Sydney East | 286 | 230 | 184 | 148 | 120 | 98 | 81 | 68 | 58 | 50 | 44 | 39 | 35 | 30 | 26 | 22 | 17 | 13 | 9 | 6 | 9 |  | 8
18 | Nowra | 517 | 423 | 346 | 284 | 235 | 195 | 164 | 140 | 121 | 105 | 92 | 81 | 70 | 60 | 50 | 40 | 30 | 20 | 12 | 5 | 9.5 |  | 9
19 | Charleville | 525 | 434 | 359 | 298 | 249 | 209 | 177 | 151 | 131 | 114 | 100 | 87 | 76 | 66 | 56 | 45 | 35 | 26 | 17 | 9 | 10 |  | 10
20 | Wagga | 804 | 663 | 548 | 455 | 380 | 321 | 273 | 235 | 204 | 178 | 156 | 137 | 118 | 100 | 82 | 64 | 47 | 30 | 15 | 3 |  |  | <90%
21 | Melbourne | 676 | 559 | 462 | 384 | 321 | 271 | 230 | 198 | 171 | 149 | 131 | 114 | 98 | 83 | 68 | 54 | 39 | 25 | 13 | 2 |  |  | ≥90%
22 | East Sale | 791 | 653 | 541 | 449 | 376 | 317 | 269 | 231 | 201 | 175 | 153 | 133 | 115 | 98 | 80 | 63 | 46 | 30 | 15 | 2
23 | Launceston | 895 | 740 | 615 | 513 | 431 | 366 | 314 | 272 | 237 | 208 | 183 | 160 | 138 | 117 | 95 | 74 | 53 | 33 | 15 | 1
24 | Canberra | 957 | 792 | 657 | 547 | 458 | 387 | 330 | 284 | 247 | 216 | 189 | 165 | 142 | 120 | 99 | 77 | 56 | 35 | 17 | 2 |  |  | Heating
25 | Cabramurra | 1666 | 1404 | 1188 | 1012 | 870 | 753 | 658 | 580 | 513 | 454 | 401 | 352 | 303 | 255 | 208 | 160 | 114 | 71 | 33 | 1 |  |  | Cooling
26 | Hobart | 876 | 723 | 598 | 498 | 417 | 354 | 303 | 262 | 229 | 202 | 177 | 155 | 134 | 113 | 92 | 71 | 51 | 31 | 14 | 0 |  |  | Both
27 | Mildura | 660 | 541 | 444 | 367 | 305 | 256 | 218 | 187 | 163 | 143 | 126 | 110 | 96 | 81 | 67 | 53 | 38 | 25 | 13 | 3
28 | Richmond (NSW) | 555 | 450 | 365 | 298 | 245 | 203 | 171 | 146 | 127 | 112 | 99 | 87 | 77 | 66 | 55 | 44 | 34 | 23 | 14 | 7
29 | Weipa | 830 | 743 | 671 | 611 | 560 | 517 | 479 | 445 | 414 | 384 | 355 | 326 | 296 | 266 | 237 | 207 | 179 | 153 | 130 | 111
30 | Wyndham | 1229 | 1071 | 943 | 839 | 754 | 685 | 626 | 576 | 530 | 488 | 447 | 406 | 364 | 321 | 278 | 234 | 192 | 154 | 121 | 95
31 | Willis Island | 427 | 391 | 359 | 330 | 305 | 282 | 261 | 242 | 224 | 207 | 191 | 176 | 160 | 146 | 132 | 118 | 105 | 93 | 81 | 71
32 | Cairns | 330 | 302 | 276 | 253 | 232 | 214 | 197 | 181 | 167 | 153 | 140 | 128 | 117 | 105 | 94 | 84 | 74 | 64 | 56 | 48
33 | Broome | 732 | 652 | 585 | 531 | 486 | 448 | 416 | 387 | 360 | 335 | 310 | 285 | 260 | 234 | 208 | 182 | 157 | 134 | 115 | 99
34 | Learmouth | 511 | 439 | 379 | 330 | 290 | 256 | 228 | 204 | 184 | 166 | 149 | 134 | 119 | 104 | 89 | 74 | 60 | 47 | 35 | 25
35 | Mackay | 275 | 248 | 224 | 202 | 183 | 165 | 150 | 136 | 123 | 112 | 102 | 92 | 83 | 75 | 68 | 60 | 53 | 47 | 40 | 34
36 | Gladstone | 220 | 191 | 167 | 146 | 129 | 114 | 101 | 90 | 81 | 73 | 66 | 59 | 53 | 48 | 42 | 37 | 32 | 28 | 23 | 19
37 | Halls Creek | 755 | 649 | 563 | 492 | 434 | 387 | 348 | 315 | 286 | 259 | 235 | 211 | 187 | 162 | 138 | 114 | 90 | 69 | 50 | 34
38 | Tennant Creek | 631 | 545 | 473 | 414 | 366 | 325 | 291 | 262 | 236 | 213 | 191 | 170 | 150 | 129 | 109 | 89 | 70 | 52 | 36 | 22
39 | Mt Isa | 656 | 560 | 481 | 417 | 363 | 320 | 284 | 253 | 227 | 205 | 184 | 164 | 145 | 126 | 108 | 90 | 72 | 55 | 40 | 28
40 | Newman | 631 | 527 | 442 | 373 | 318 | 273 | 237 | 207 | 183 | 162 | 144 | 127 | 111 | 95 | 80 | 64 | 49 | 35 | 22 | 11
41 | Giles | 517 | 429 | 357 | 298 | 252 | 215 | 185 | 161 | 142 | 126 | 111 | 98 | 86 | 73 | 61 | 49 | 36 | 25 | 15 | 7
42 | Meekatharra | 437 | 358 | 293 | 241 | 200 | 167 | 141 | 120 | 104 | 91 | 79 | 70 | 60 | 52 | 43 | 34 | 25 | 17 | 10 | 4
43 | Oodnadatta | 596 | 495 | 412 | 344 | 289 | 244 | 208 | 179 | 155 | 135 | 118 | 103 | 90 | 77 | 64 | 51 | 39 | 27 | 16 | 7
44 | Kalgoorlie | 490 | 396 | 320 | 259 | 211 | 173 | 144 | 122 | 105 | 91 | 80 | 70 | 61 | 52 | 43 | 34 | 25 | 17 | 9 | 3
45 | Woomera | 552 | 446 | 362 | 295 | 243 | 203 | 172 | 148 | 130 | 115 | 102 | 90 | 79 | 67 | 55 | 43 | 31 | 20 | 10 | 3
46 | Cobar | 580 | 469 | 379 | 308 | 253 | 210 | 176 | 151 | 131 | 115 | 101 | 89 | 78 | 67 | 55 | 44 | 32 | 21 | 11 | 4
47 | Bickley | 595 | 485 | 397 | 325 | 269 | 224 | 189 | 161 | 140 | 122 | 107 | 94 | 82 | 70 | 58 | 46 | 34 | 22 | 12 | 4
48 | Dubbo | 627 | 513 | 421 | 347 | 288 | 241 | 205 | 176 | 153 | 134 | 118 | 103 | 90 | 76 | 63 | 49 | 36 | 23 | 12 | 3
49 | Katanning | 664 | 537 | 436 | 354 | 290 | 241 | 202 | 172 | 149 | 130 | 114 | 100 | 87 | 74 | 61 | 48 | 34 | 22 | 11 | 2
50 | Oakey | 485 | 391 | 315 | 256 | 210 | 174 | 147 | 126 | 110 | 98 | 87 | 78 | 69 | 60 | 50 | 41 | 31 | 22 | 14 | 8
51 | Forrest | 498 | 401 | 324 | 262 | 213 | 175 | 146 | 124 | 107 | 93 | 82 | 72 | 63 | 53 | 44 | 35 | 25 | 16 | 8 | 2
52 | Swanbourne | 284 | 231 | 187 | 152 | 124 | 102 | 84 | 71 | 60 | 51 | 45 | 39 | 34 | 29 | 25 | 20 | 15 | 11 | 7 | 3
53 | Ceduna | 499 | 406 | 331 | 271 | 223 | 186 | 157 | 134 | 116 | 101 | 89 | 78 | 68 | 58 | 47 | 37 | 27 | 17 | 9 | 2
54 | Mandurah | 412 | 332 | 269 | 218 | 179 | 148 | 125 | 107 | 93 | 82 | 73 | 65 | 57 | 49 | 41 | 33 | 25 | 17 | 10 | 5
55 | Esperance | 430 | 351 | 286 | 233 | 191 | 158 | 132 | 111 | 95 | 82 | 71 | 62 | 54 | 46 | 38 | 30 | 22 | 14 | 7 | 1
56 | Mascot | 352 | 284 | 230 | 186 | 151 | 125 | 104 | 88 | 75 | 66 | 58 | 51 | 45 | 39 | 32 | 26 | 20 | 14 | 9 | 5
57 | Manjimup | 687 | 565 | 465 | 384 | 318 | 266 | 224 | 191 | 164 | 143 | 124 | 108 | 93 | 79 | 65 | 51 | 38 | 24 | 12 | 2
58 | Albany | 558 | 457 | 374 | 307 | 253 | 210 | 176 | 149 | 127 | 110 | 95 | 83 | 71 | 60 | 50 | 39 | 29 | 19 | 9 | 1
59 | Mt Lofty | 1173 | 987 | 833 | 706 | 603 | 518 | 448 | 391 | 342 | 301 | 264 | 230 | 198 | 166 | 136 | 105 | 76 | 48 | 22 | 1
60 | Tullamarine | 797 | 663 | 552 | 462 | 388 | 328 | 280 | 241 | 209 | 182 | 158 | 138 | 118 | 100 | 82 | 64 | 47 | 30 | 15 | 2
61 | Mt Gambier | 849 | 702 | 582 | 484 | 405 | 341 | 290 | 250 | 216 | 189 | 165 | 144 | 124 | 105 | 86 | 67 | 48 | 31 | 15 | 1
62 | Moorabbin | 742 | 615 | 511 | 426 | 357 | 301 | 256 | 220 | 190 | 165 | 144 | 125 | 108 | 91 | 75 | 58 | 43 | 27 | 13 | 1
63 | Warrnambool | 867 | 716 | 593 | 493 | 413 | 349 | 298 | 258 | 224 | 197 | 173 | 151 | 130 | 110 | 90 | 70 | 51 | 32 | 15 | 2
64 | Cape Otway | 708 | 593 | 497 | 418 | 353 | 301 | 257 | 222 | 193 | 168 | 146 | 127 | 109 | 92 | 76 | 59 | 43 | 28 | 14 | 2
65 | Orange | 1156 | 964 | 807 | 679 | 575 | 492 | 424 | 369 | 324 | 285 | 250 | 219 | 189 | 159 | 130 | 101 | 72 | 46 | 22 | 2
66 | Ballarat | 1045 | 874 | 734 | 618 | 525 | 448 | 386 | 335 | 293 | 257 | 225 | 197 | 169 | 143 | 117 | 91 | 66 | 42 | 20 | 2
67 | Low Head | 668 | 554 | 460 | 384 | 322 | 273 | 233 | 201 | 175 | 153 | 133 | 116 | 100 | 85 | 69 | 54 | 39 | 24 | 11 | 0
68 | Launceston Air | 1048 | 867 | 719 | 600 | 505 | 428 | 367 | 318 | 278 | 245 | 215 | 188 | 162 | 137 | 112 | 86 | 61 | 38 | 17 | 0
69 | Thredbo | 1471 | 1238 | 1045 | 888 | 759 | 655 | 569 | 499 | 439 | 387 | 341 | 298 | 257 | 216 | 176 | 136 | 98 | 61 | 28 | 1
|  | Avg |  | WC
BASIX Thermal Comfort Criteria - UNITS ONLY |  | Htg | Clg | Htg | Clg
8 | Moree | 68 | 87 | 88 | 113
9 | Amberley | 39.6 | 73.5 | 51.5 | 95.6
10 | Byron | 33.2 | 49.8 | 43.6 | 65.4
11 | Coffs Harbour | 37 | 37 | 48 | 48
14 | Armidale | 180 | 25 | 234 | 33
15 | Newcastle | 76 | 37 | 99 | 47
17 | Sydney CBD | 40 | 32 | 50 | 41
18 | Nowra | 105 | 30 | 137 | 39
19 | Charleville | 39.6 | 73.5 | 51.5 | 95.6
20 | Wagga | 150 | 50 | 195 | 65
24 | Canberra | 240 | 30 | 312 | 39
25 | Cabramurra | 580 | 72.5 | 754 | 94.25
27 | Mildura | 95 | 68 | 124 | 88
28 | West Sydney | 74 | 70 | 88 | 91
46 | Cobar | 60 | 76 | 78 | 101
48 | Dubbo | 100 | 50 | 130 | 65
50 | Oakey | 60 | 76 | 78 | 101
56 | East Sydney | 51 | 45 | 66 | 59
65 | Orange | 290 | 16 | 377 | 21
66 | Ballarat | 240 | 30 | 312 | 39
69 | Thredbo | 499 | 62.375 | 649 | 81.125
Required reduction relative to benchmark
BASIX Energy Criteria |  | Detached | Low Rise | Mid Rise | High Rise
1 |  | 40% | 35% | 30% | 20%
2 |  | 35% | 30% | 25% | 15%
3 |  | 25% | 20% | 15% | 5%