# indoor air quality

### Credit 8

### Design Review Submission As Built Submission

|  |  |  |  |
| --- | --- | --- | --- |
| Total Points available: | 4 | Points claimed: | [#] |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Name** | **Description** | Points Available | Points Claimed |
| **8.1** | **Ventilation System Attributes** | The project has mitigated the entry of outdoor pollutants, the systems are designed for ease of maintenance and cleaning and the system has been cleaned prior to occupation and use. | 1 |  |
| **8.2** | **Provision of Outdoor Air** | The nominated area is provided with sufficient outdoor air to ensure levels of indoor pollutants are maintained below acceptable levels. | 2 | [#] |
| **8.3** | **Exhaust or Elimination of Pollutants** | The project has limited the effects of indoor pollutants by either eliminating or exhausting the pollutants. | 1 |  |

## Project-specific technical questions (formerly tcs and cirs)

|  |  |
| --- | --- |
| There are no project-specific Technical Questions for this credit. |  |
| There are project-specific Technical Questions for this credit and all responses received from the NZGBC are attached. |  |

## General Information

Provide a description of the project’s nominated area.

Provide a description and details of any areas that have been excluded for functional reasons.

Provide a description of the project’s ventilation systems for the nominated area.

Identify where this information can be found within the supporting documentation provided.

|  |  |
| --- | --- |
| **Supporting Documentation** (Name / title / description of document) | **Reference** (Page no. or section) |
| [####] | [####] |
| [####] | [####] |

## 8.1 ventilation system attributres

The following conditions have been met for the ventilation system:

|  |  |
| --- | --- |
| The entry of outdoor pollutants is mitigated, in accordance with 8.1.1; |  |
| The system is designed for ease of maintenance and cleaning, in accordance with 8.1.2; and |  |
| The system has been cleaned prior to occupation and use, in accordance with 8.1.3. |  |

**8.1.1** Provide a description of how air intakes are located away from specific potential outdoor contaminants and are designed to minimise the entry of pollutants to occupied spaces, in accordance with ASHRAE Standard 62.1:2013.

**8.1.2** Provide a description of how the system was designed for ease of maintenance and cleaning.

**8.1.3** Provide confirmation that the system has been cleaned prior to occupation and use.

Identify where this information can be found within the supporting documentation provided.

|  |  |
| --- | --- |
| **Supporting Documentation** (Name / title / description of document) | **Reference** (Page no. or section) |
| [####] | [####] |
| [####] | [####] |

## 8.2 provision of outdoor air

Please select the recognised standard that has been used by the project team:

|  |  |
| --- | --- |
| AS 1668.2:2012 The use of ventilation and air-conditioning in buildings –  Part 2: Mechanical ventilation in buildings |  |
| AS 1668.4:2012 The use of ventilation and air-conditioning in buildings –  Part 4: Natural ventilation of buildings |  |
| NZS 4303:1990 Ventilation for Acceptable Indoor Air Quality |  |
| ASHRAE 62.1:2003 Ventilation for Acceptable Indoor Air Quality |  |

Select one of the following compliance pathways:

|  |  |
| --- | --- |
| **8.2A Comparison to Industry Standard** Outdoor air is provided to the nominated area at a rate 50% greater than the minimum required by the recognised standard selected above. |  |
| Outdoor air is provided to the nominated area at a rate 100% greater than the minimum required by the recognised standard selected above. |  |
| **8.2B Performance Based Approach** Outdoor air is provided to the nominated area at a rate so that CO2 concentrations are maintained below 800ppm as controlled by CO2 sensors. |  |
| Outdoor air is provided to the nominated area at a rate so that CO2 concentrations are maintained below 700ppm as controlled by CO2 sensors. |  |
| **8.2C Natural Ventilation** The project is naturally ventilated and the nominated area meets the requirements of AS the recognised standard selected above. |  |

Provide a description of the system in place, occupancy rates, and how each space is provided with sufficient outdoor air.

Provide a description of any modelling (if relevant) to ensure the CO2 level threshold is maintained.

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Summary of Mechanically Ventilated Spaces | | | | | | | | |
| **Air Handling Unit** | **Space/ Floor** | **Area (m2)** | **AS 1668.2 Requirements** | | | **Project Rates** | **% Improve-ment** | **Points claimed**  **[1 or 2]** |
| **Net Floor Area per person** | **Quantity (L/s.Person)** | **Min OA per Space (L/s)** | **Min OA per Space (L/s)** |
| [e.g. AHU – North] | [e.g. 1st Floor] | [100m2] | [10m2] | [e.g. 7.5l/s/ person] | [e.g. 75L/s] | [e.g. 115 L/s] | [e.g. 53%] | [e.g. 1 point] |
| [e.g. AHU – North] | [e.g. Laboratory] |  |  |  |  |  |  |  |
| [e.g. AHU – North] | [e.g. 2nd Floor] |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |

Please note: project teams may add more rows as required or use an attachment to display this information.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Summary of Naturally Ventilated Spaces | | | | |
| **Space/Floor** | **Nominated Area (m2)** | **Required Opening Size (AS 1668.4)** | **Opening Provided** | **Compliant? (Y/N)** |
| **m2 open area** | **m2 open area** |  |
| [e.g. 1st Floor] | [m2] | [m2] | [m2] | [Y/N] |
| [e.g. Laboratory] |  |  |  |  |
| [e.g. 2nd Floor] |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

Please note: project teams may add more rows as required or use an attachment to display this information.

|  |  |  |  |
| --- | --- | --- | --- |
| Summary of Mixed Mode Spaces | | | |
| **Space/Floor** | **Nominated Area (m2)** | **Compliant with Mechanical Ventilation Requirements (Y/N)** | **Compliant with Natural Ventilation Requirements (Y/N)** |
| [e.g. 1st Floor] | [Mechanical Natural] | [Y/N] | [Y/N] |
| [e.g. Laboratory] |  |  |  |
| [e.g. 2nd Floor] |  |  |  |

Please note: project teams may add more rows as required or use an attachment to display this information.

|  |  |
| --- | --- |
| Summary Results Table | |
| **Total Nominated Area** | [##]m2 |
| **Total Compliance Area** | [##]m2 |
| **Percentage Area Compliant** | [##]% |
| **Points Claimed** | [1/2] |

Identify where this information can be found within the supporting documentation provided.

|  |  |
| --- | --- |
| **Supporting Documentation** (Name / title / description of document) | **Reference** (Page no. or section) |
| [####] | [####] |
| [####] | [####] |

## 8.3 Exhaust or elimination of Pollutants

|  |  |
| --- | --- |
| The project has limited pollutants from the nominated area by either removing the source of pollutants or exhausting the pollutants to the outside as detailed below. |  |

Please select the compliance pathway(s) which applies:

|  |  |
| --- | --- |
| The nominated spaces within the project contain no pollutants. |  |
| **8.3A Removing the source of pollutants** The nominated spaces within the project contain printing and photocopying equipment that are certified to meet the specified emission limits of 8.3A. |  |
| **8.3B Exhausting the pollutants directly to the outside** Pollutants from nominated spaces within the project that contain printing and photocopy equipment, or kitchen cooking processes and equipment, or vehicle exhaust pollutant sources are exhausted directly to the outside, and occupants are physically separated from the pollutant source as per 8.2B. |  |

Provide a description of the pollutant sources included in the project.

Provide a description of how indoor pollutants are either removed from the source, or exhausted and physically separated from fitout occupants.

Identify where this information can be found within the supporting documentation provided.

|  |  |
| --- | --- |
| **Supporting Documentation** (Name / title / description of document) | **Reference** (Page no. or section) |
| [####] | [####] |
| [####] | [####] |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Summary of Pollutant Exhaust (8.3B Only) | | | | | | |
| **Floor** | **Area (m2)** | **Required Exhaust rate (L/s/m2)** | **Required Air Flow Rate (L/s)** | **Air Flow Rate Provided (L/s)** | **Floor take off size capacity (L/s)** | **Floor take off size capacity as air floor rate (L/s/m2)** |
| [Level 1] |  |  |  |  |  |  |
| [Level 2] |  |  |  |  |  |  |
| [Level 3] |  |  |  |  |  |  |
| [Level 4] |  |  |  |  |  |  |

Please note: project teams may add more rows as required or use an attachment to display this information.

## DISCUSSION

Outline any issues you would like to highlight and clarify with the Certified Assessor(s).

## DECLARATION

I confirm that the information provided in this document is truthful and accurate at the time of completion.

Provide author details, including name, position and email address:

[Date]

––– **Report end** –––